## Tabelle1
				Air T :	25	deg C
We want :	P				Air RH :	26	%
We have :	T
	298.15	K			Air w :	5.2227660723	g/kg
And :	Q
	1
Fluid :	water
Result :	3.16992934	(Sat. Pressure Water Vapor)

desired Property:	V	: Kinematic Viscosity

given Property 1:	T
given Value 1:	30	deg C

given Property 2:	P
given Value 2:	101.325	kPa

Fluid :	air
desired Value :	1.868879035749E-05

desired Property:	V	: Kinematic Viscosity

given Property 1:	T
given Value 1:	30

given Property 2:	Q
given Value 2:	1

Fluid :	water
desired Value :	9.86015858692704E-06

## Sheet2
	Duct Enthrance Height :	25	in					10.25	in.					80	in.
	Duct Entrance Width :	18	in
	Hydraulic Dia :	20.9302325581	in

	Regen Airflow :	2000	sCFM	2204.6733754051	CFM

	AirFlow Inlet Temp (T) :	50	°C					14	in.
	AirFlow Inlet RH :	25	%

	AirFlow Inlet Density :	#NAME?	kg/m3
	AirFlow Inlet abs. Hum :		g/kg
	AirFlow Kinematic Viscosity (nu) :		m2/s
	Airflow Inlet Velocity (V) :	3.5839170391	m/s
	Reynolds Number :
	Reynolds Number :
	AirFlow Entrance Temp :

Turbulence Set-Up:

	Average Inlet Velocity (U) :	3.5839170391	m/s

	turbulence Intensity (I) :	#NUM!

	Turbulence Length Scale (l) :	0.0037213953	m

	Turbulence Viscosity (nuTilda) :	#NUM!

	Turbulent Kinetic Energy (k) :	#NUM!

	Emeprical Constant for Turb. Dissip. Rate:	0.09

	Turbulence Dissipation rate (epsilon) :	#NUM!

	Specific Dissipation Rate (omega) :	#NUM!